## Slide 1: Hydrogen supply chain analysis using SERA
Vishnu Vijayakumar
PhD candidate/NREL intern
For Advisory Board call , 21st Oct 2021

## Slide 2: Outline
Background
Modelling Approach- SERA optimization, interaction with other models and scenarios
Results
Conclusions and Future work
Research Questions

## Slide 3: Background
roll out of infrastructure is an important piece to the hydrogen puzzle.
Cross sectoral applications for hydrogen require a multi sectoral analysis
Integrating hydrogen supply chain with the electricity and natural gas grids is critical during the energy transition.
We developed the STIEVE model to project hydrogen demand in California from on road transportation until 2050
Leveraged in-house electricity grid models to understand the impact of hydrogen integration on to the griD ( GOOD)
Now, we soft link these models with the hydrogen supply chain to understand How, when, and where will the capacity expansion of hydrogen production and delivery infrastructure happen in California, over a 2050-time frame

## Slide 4: Modelling approach
Hydrogen supply chain analysis using Scenario Evaluation and Regionalization Analysis Model(SERA), developed by NREL.
SERA is a cost minimization model with spatial and temporal characterization.
Existing and new production technologies as well as various distribution technologies are competed economically to determine the lowest-cost supply chain.
SERA is soft linked to a suite of other models to obtain inputs .

## Slide 5: Model linkages
STIEVE
GOOD
Capital, variable and fixed costs
Scaling and capacity factor
H2A,HDSAM HDRSAM

## Slide 6: Scenarios and Assumptions
What will the infrastructure build out look like in California
  Low and high transportation demand
  Perfect versus myopic foresight of demand
 | Scenario Description |  |  |  | 
Parameter of interest | Demand | Production | Distribution | Existing Supply | Planning Horizon
Evaluating the effect of varying hydrogen demand (Scenario – I) | Low | SMR with CCS and PEM | Pipelines, Gas tube trailer and Liquid tanker | SMRs (mostly refineries) -15% of nameplate capacity to meet transport demand Electrolyzers - expected to be online by 2022 | 5 years
 | High |  |  |  | 
 | High |  |  | Price: set at marginal cost of production | 
Impact of Optimization Time Horizon (Foresight) Scenario – II) | High |  |  |  | 12 years
 |  |  |  |  | 25 years

## Slide 7: Hydrogen supply chain

## Slide 8: Some more background information
Feedstock prices
  IPM region-based electricity costs(GOOD model) – 7 regions for California
  Single region for diesel, NG, water prices(AEO 2021)
No price on carbon
No policy levers considered for hydrogen production, distribution or refueling
No grid level storage considered

## Slide 9: Hydrogen demand-STIEVE
450 demand nodes(TAZs)
405 demand nodes
https://engaging-data.com/pages/scripts/Davis/stationsmap4.html

## Slide 10
Most existing H2 production is captive (IHS market database)
Electrolyzer installations are expected to be online towards 2022 ( DOE)
SERA follows a demand driven modelling approach
Builds infrastructure based on demand outlooks for 5 years ( typically).

## Slide 11: RESULTS Scenario I – low and high transport demand, 5-year planning horizon

## Slide 12: Hydrogen Production

## Slide 13
A high demand scenario builds more Central SMR with CCS initially, leveraging the economies of scale of these large plants.
Electrolysis dominates in both scenarios after 2035, larger share in low scenario.
Onsite hydrogen production more prevalent in high scenario after 2035, mostly to meet marginal demands

## Slide 14
Very large SMR plants built during the earlier years have lower utilization in the future.
Electrolyzers see better utilization over the years.
Existing SMR plants( not built by SERA) have higher utilization as compared to existing electrolyzers, probably due to larger production capacities of SMRs
- - - -Trend lines

## Slide 15
Most new constructions are electrolysis based, with a greater number of plants built for the high scenario
Onsite plants in high scenario are built away from urban areas

## Slide 16
Investments in SMR extend into 2040 in the high scenario, unlike low scenario
All investments after 2040 are in electrolysis plants

## Slide 17: Hydrogen distribution ( Gaseous tube trailers, Liquid tankers and Pipelines)
Scenario I – low and high transport demand, 5-year planning horizon

## Slide 18
Most flow occurs in urban regions.
Max growth occurs between 2025-2035 in both scenarios.
In the low scenario, network growth is sizeable after 2035 as well.

## Slide 19
Sub-urban regions also have substantial flows, possibly truck stops.
Max growth occurs between 2025-2035 in both scenarios.
In the high scenario, sizeable network growth occurs after 2035 as well

## Slide 20
Length of pipelines= 7,008 km
Length of pipelines= 8,782 km
Southern California is a major hub for pipelines.
Pipeline growth occurs in discrete pieces, over the entire 25-year time period.

## Slide 21
Pipelines reach about 80% share in both scenarios by 2036.
Gaseous tube trailers continue to play a role until 2050, though largely subdued in the high scenario
Liquid tankers play a larger role during the initial years in the low scenario, and hold a near constant role in the high scenario
Location of the demand point plays a very important role.

## Slide 22
Average utilization increases for all three delivery modes in the high scenario
Tube trailers have higher utilization than pipelines in the low scenario, until 2030

## Slide 23
In both scenarios, pipelines(transmission) and liquid terminals have a substantial share of investment, and this start as early as 2026.

## Slide 24: Refueling stations
Scenario I – low and high transport demand, 5-year planning horizon

## Slide 25
Refueling stations with a pipeline for hydrogen delivery have larger thruput

## Slide 26
Refueling stations with pipeline delivery have high capital investments. Major capex of these stations are driven by costs of compression at the station.

## Slide 27: Cost of hydrogen at the dispenser($/kg)
Demand drives down the costs of hydrogen, more evident in early years
$5/kg mark achieved by 2035 in both scenarios
Low demand
High demand
Not the price consumer sees!!!

## Slide 28: Scenario-II -Planning horizon 5-year, 12-year, 25-year -High demand

## Slide 29: Hydrogen production

## Slide 30
A very long and perfect foresight enables building of large SMR plants with CCS, leveraging economies of scale
Onsite production is minimized in perfect foresight scenarios

## Slide 34: Hydrogen distribution
Scenario-II -Planning horizon 5-year, 12-year, 25-year -High demand

## Slide 35
Average utilization increases across all modes of distribution with better foresight

## Slide 36: Refueling stations
Scenario-II -Planning horizon 5-year, 12-year, 25-year -High demand

## Slide 37
Lesser number of stations built with longer planning horizons

## Slide 38
Low
High
12 year
25 year
A perfect foresight results in higher costs during the initial years but then, the costs rapidly falls

## Slide 39: Conclusions
Demand (both in terms of volume and time) can have substantial impacts on the hydrogen supply chain.
Higher demand drives down the cost of hydrogen, especially during the early years.
Certainty in demand(perfect foresight) enables improved utilization of hydrogen infrastructure.
Production:
With limited demand foresight(5-year planning horizon),
  Building large centralized electrolysis plants that have cheap access to renewable electricity is most cost effective
  Onsite hydrogen production caters to satisfying marginal demands in sub urban areas.
  With perfect foresight, there are fewer and larger centralized production(SMR and Electrolysis).
  Distribution:
Gaseous tube trailer delivery mode is dominant in the high demand clusters that are at short distance from the production plants
Pipelines(dedicated h2) are the preferred mode of distribution for the future(in all scenarios).
Liquid tanker's role is more evident in the initial years in a low hydrogen demand scenario
Refueling:
Stations with liquid and pipeline delivery have greater scope for scaleup, but is very capital intensive

## Slide 40: Future work
Extend geography beyond California, to cover the WECC region.
Include hydrogen storage(geological and line pack)
Include non transport demand

## Slide 41
Thank You !
vvijayakumar@ucdavis.edu /
Vishnu.Vijayakumar@nrel.gov

## Slide 42: BACKUP

## Slide 45: Refueling station capital costs

## Slide 46
Utilization decreases over time for all except those which gets hydrogen supply from pipelines

## Slide 50: Comparison of distribution network growth(2026-2050)
Optimization time period | Length(km)
5 year | 20,010
12 year | 13,230
25 year | 8,331
Optimization time period | Length(km)
5 year | 42,850
12 year | 26,290
25 year | 14,996
Optimization time period | Length(km)
5 year | 8782
12 year | 8216
25 year | 3636
Liq.Tanker
Pipelines
Gas.tube trailer

## Slide 52: Scaling of delivery technologies
Chart: 
Pipeline | 0 | 0.11154 | 0.18048 | 0.2454 | 0.31895 | 0.38805 | 0.51211 | 1
Chart: 
GH2 truck | 0.73254 | 0.78243 | 0.87486 | 0.95723 | 0.98549 | 0.99712 | 0.99893 | 1
Chart: 
LH2 truck | 0.19718 | 0.94 | 0.83586 | 0.92114 | 0.97054 | 0.99389 | 0.99793 | 1